## Slide 1
INTERVIEW PRESENTATION
System-Level Control
& Safety in Industrial
Machines
Kyaw Min Thu
Automation / Controls Engineer
1

## Slide 2
WHO I AM
18+
Years in Industrial
Automation & Controls
R&D · Prod · Field
Environments Covered
PLC · SCADA · HMI
Core Control Competencies
Gas · Hydraulics · Motion
Physical Domains Worked
Strong in PLC control, system integration, and real-world troubleshooting
Focus: safe, stable system behavior under real operating conditions
Full lifecycle experience — concept through commissioning
2

## Slide 3
HOW I THINK ABOUT SYSTEMS
Control System
≠ Outcome
Manages inputs and outputs
Executes logic
Does NOT determine final result alone
Process Stability
= Outcome
Physical process determines final result
Depends on coordination across domains
Requires stable behavior under real conditions
→
3

## Slide 4
PRIMARY PROJECT
Fire Fighting Simulator
Singapore Civil
Defence Force
FUEL
LPG-Based
Combustion
PURPOSE
Firefighter
Training
CONTROL
Omron PLC
Logic
RISK LEVEL
Real Hazard
System
This was not just a simulation system — it involved controlled combustion using LPG, so safety and system reliability were critical.
Controlled ignition and fire behavior for realistic training scenarios
Real hazard environment: strict safety requirements, permissives, and interlocks throughout
End-to-end control logic design and commissioning
4

## Slide 5
SYSTEM ARCHITECTURE — Fire Fighting Simulator
Omron PLC
Control Logic
→
Gas Supply
& Distribution
LPG System
→
Pneumatic
Valves
Gas Control
→
Ignition
System
Flame Generation
→
Sensors
Pressure · Flame · Status
Gas flow, ignition, and control logic must be coordinated at all times to ensure safe, predictable system operation.
5

## Slide 6
SAFETY DESIGN STRUCTURE
PERMISSIVES
Before ignition
Gas pressure within range
Valve states verified
No active faults
INTERLOCKS
During operation
Continuous gas flow monitoring
Flame detection feedback
System condition checks
SAFETY TRIPS
Shutdown
Emergency stop
Loss of flame or unstable condition
Abnormal pressure or system fault
Each layer is explicitly separated — clear behavior, predictable system responses.
6

## Slide 7
FAILURE HANDLING
FAILURE MODES
Gas leak or pressure instability
Flame failure or ignition issues
Valve malfunction
Communication loss
APPROACH
1
Detect
Continuous monitoring of sensors and system state
↓
2
Isolate
Identify and contain the affected subsystem
↓
3
Safe State
Transition system to defined safe condition
Any uncertainty → safe shutdown. Never continue under unknown conditions.
7

## Slide 8
SUPPORTING PROJECT
Test Loop System — Concept to Commissioning
01
Concept
→
02
Design
→
03
Build
→
04
Integrate
→
05
Commission
Flow Control
Designed and tuned for stable, consistent flow across operating conditions
Pressure Monitoring
Real-time sensor feedback with alarm and interlock integration
System Validation
Functional testing and verification against design requirements in field environment
8

## Slide 9
SYSTEM INTEGRATION & VALIDATION
01
Sensor Accuracy
Verified sensor accuracy and signal integrity against known reference standards
02
Control Loop Tuning
Tuned control loops for stable, consistent operation across the full operating range
03
Functional Testing
Performed systematic functional testing and validation against design requirements
04
Issue Resolution
Identified and resolved system-level issues found during commissioning in the field
Goal: correct behavior under real operating conditions — not just in theory.
9

## Slide 10
SUPPORTING PROJECT
Amazon IPC Monitoring System
WHAT WAS BUILT
Python-based monitoring scripts for IPC systems
Aggregated and parsed IPC trace logs
Improved system visibility and diagnostics
IMPACT
Faster troubleshooting — reduced diagnostic time
Better understanding of system behavior
Bridged machine-level events with system-level insight
Python
IPC Trace Logs
System Diagnostics
10

## Slide 11
SYSTEM ARCHITECTURE VIEW
IPC — Planning / Monitoring
↓
Real-Time Control — PLC
↓
Actuators / Sensors
↓
Physical Process — Source of Outcome
I work at the boundary between control systems and physical processes
11

## Slide 12
RELEVANCE TO VELO3D
VELO3D SYSTEM
Gas control
Thermal process
Precision motion
Deterministic control required
Process stability critical
Strong safety design needed
↔
Strong
Parallels
MY BACKGROUND
LPG combustion control
Thermal / ignition process
Pneumatic actuator control
Omron PLC deterministic logic
Process stability focus
Permissives / interlocks / trips
12

## Slide 13
WHAT I BRING
System-Level
Troubleshooting
Diagnose and resolve issues across the full stack — from sensor signals to process behavior
Cross-Domain
Integration
Gas, fluid, motion, and control — experience coordinating across physical and digital domains
Safety-Critical
Experience
Real-world work under hazardous conditions with strict permissive and interlock requirements
Process Stability
Focus
Consistent drive toward stable, reliable system behavior — not just code that runs, but systems that work
13

## Slide 14
INTERESTED IN
Systems where control directly impacts process quality
Working on complex, multi-domain machines
Thank You
Kyaw Min Thu · Automation / Controls Engineer
Process Stability · System-Level Thinking · Safe State · Cross-Domain Coordination
14